**IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER**

Strasburg Water & Sanitation District

 **Had the following Violations Identified During a Drinking Water Inspection**

Este informe contiene información muy importante sobre su agua potable. Tradúzcalo o hable con alguien que lo entienda bien.

Our water system recently violated a drinking water requirement. Although this situation is not an emergency, as our customers you have a right to know what happened, what you should do, and what we are doing to correct this situation.

A routine drinking water inspection conducted on April 3, 2024 by the state drinking water program identified the following violations that may pose a risk to public health.

|  |  |  |
| --- | --- | --- |
| **Identified****Violation** | **Date Correction is Required** | **Steps We Are Taking** |
| F334 - Management: Storage Tank Inspection Plan- could not demonstrate that the underground tank overflow pipe flapper was intact and not buried. | August 1, 2024 |  The Storage tank program was implemented and pictures showing that the underground overflow pipe flapper is intact and functioning properly. |
|  M619 - Management: Backflow Prevention Annual Compliance Ratio | August 1, 2024 |  We are collecting the annual backflow assembly certifications for all non-single family connections. The annual report will be submitted to the CDPHE after we have achieved a 90% ratio. |

* Inadequately treated or inadequately protected water may contain disease-causing organisms. These organisms can cause symptoms such as diarrhea, nausea, cramps, and associated headaches.
* Failure to perform the required start-up procedures prior to serving water to the public has the potential to distribute contaminated water. When our system shuts down operation, the lack of pressure in our pipes can allow the entry of bacteria and other disease-causing microorganisms into the drinking water. By performing start-up procedures such as flushing the pipes, disinfecting the water, and collecting a coliform bacteria sample before we open, we can be sure that we are providing you with safe water.
* Inadequately maintained storage tanks, identified through inspections, may allow contaminants or disease-causing organisms to enter the drinking water, which can cause diarrhea, nausea, cramps, and associated headaches.
* Uncontrolled cross connections can lead to a back pressure or siphonage event that may allow contaminants or disease-causing organisms to enter the drinking water, which can cause diarrhea, nausea, cramps, and associated headaches.

**What does this mean? What should I do?**

* There is nothing you need to do at this time**.** If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

We anticipate resolving the problem by **June 30, 2024**. For more information, please contact **Paul E. Grant II** at **p.grant@headwaysconsultants.net** or **(303) 246-5254**, or **4255 S. Buckley Road #256, Aurora, CO 80013**.

*\*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.\**

This notice is being sent to you by: Strasburg Water & Sanitation District - CO0101145

Date distributed: **May 3, 2024**

This document can also be viewed on

our website at:

https://www.strasburgwater.com/ consumer-confidence-report